## Exploded view
Midea RAC Exploded View
| Sale Model： | M2OE-18HFN1-M
| Factory Model： | US1-KFR52W/BP3T2N1-CA30
| Product Name： | 62223-13596801
| Power Supply： | 208_230V_1Ph,FREQUENCY_60HZ |  |  | Export Time: | 2016-05-13 09:01:37
No. | Part Name | Quantity | Historic Part # | Modern Part #
1 | Ambient temperature sensor assembly | 1 | 202301310075 | 11201007000143
2 | Rear net | 1 | #N/A | 12222000004833
3 | Condenser assembly | 1 | #N/A | 15823000A01699
4 | Pipe temperature sensor assembly | 1 | 202440500004 | 11201007000136
4 | Pipe temperature sensor assembly | 1 | 202301300423 | 11201007000259
5 | Valve plate | 1 | #N/A | 12222300000551
6 | Chassis assembly | 1 | #N/A | 12222000A01131
7 | Rear right clapboard assembly | 1 | #N/A | 12222300000550
8 | Big handle | 1 | 201257190157 | 12222300000029
9 | Water collector | 1 | #N/A | 12122300000150
11 | Front panel | 1 | #N/A | 12222000004825
11.1 | Front panel | 1 | #N/A | 12222000008705
12 | Air outlet grille | 1 | #N/A | 12222000004832
13 | Axial flow fan | 1 | #N/A | 12100105000181
14 | Asynchronous motor | 1 | 202400310150 | 11002015000397
15 | Supporter assembly of fan motor | 1 | #N/A | 12222000004884
16 | Liquid valve assembly | 1 | #N/A | 15422300000425
16.1 | Liquid valve | 2 | 201600700106 | 15500204000021
17 | Top cover assembly | 1 | #N/A | 12222000004835
18 | Left supporter | 1 | #N/A | 12222000004831
19 | Partition board assembly | 1 | #N/A | 12222000004784
20 | Electronic control box assembly | 1 | #N/A | 17222300000769
20.1 | Cover of electronic control box | 1 | 201157190011 | 12122300000044
20.2 | Outdoor main control board assembly | 1 | #N/A | 17122300001132
20.3 | Inverter control board assembly | 1 | #N/A | 17122300001114
20.3.1 | Radiator | 1 | #N/A | 11203803000676
20.3.1 | Radiator | 1 | #N/A | 11203803000856
20.4 | Installation plate of electric parts | 1 | 201157190010 | 12122300000041
21 | Terminal board assembly | 1 | #N/A | 17222300000768
21.1 | Terminal board | 1 | 201257190117 | 12222300000226
21.2 | Wire joint | 1 | 202301450157 | 17400401000084
22 | Liquid valve assembly | 1 | #N/A | 15422300000426
22.1 | Liquid valve | 2 | 201600700107 | 15500208000028
22.2 | Electronic expansion valve assembly | 2 | 201601300658 | 15500213000046
23 | 4-ways valve assembly | 1 | #N/A | 15422300000424
23.2 | 4-ways valve | 1 | 201600690011 | 15500216000003
23.3 | Muffler | 1 | 201601000082 | 15500506000007
24 | Compressor | 1 | #N/A | 11103020000499
26 | Discharge temperature sensor assembly | 1 | 202448200000 | 11201007000246
28 | Reactor | 1 | 202301000943 | 17400306000058
28 | Reactor | 1 | 202301000950 | 17400306000070
29 | Copper nut | 2 | 201600320001 | 15500406000010
29 | Copper nut | 2 | 201600320002 | 15500406000012
29 | Copper nut | 2 | 201600320000 | 15500406000016
40 | Crankcase electric heater | 1 | 202403100501 | 17402001000008
41 | Electric heater of chassis | 1 | #N/A | 17402002000043
45 | DR Module Box Subassembly | 2 | 201650290241 | 15500307000001
| Line set (1/4" - 3/8") |  | 220056009101 | #N/A
| Line set (1/4" - 1/2") |  | 220056009502 | #N/A
| Line set (3/8" - 5/8") |  | 220056009104 | #N/A
| 1/2”--3/8” Adapter |  | 2016560A0039 | 15111600000083
| 1/4”--3/8” Adapter |  | 201656000547 | 15111600000081
| 3/8”--1/2” Adapter |  | 201650290241 | 15500307000001
| 3/8”--1/2” Adapter |  | 201600390010 | 15500405000008
| 1/2”--5/8” Adapter |  | 201656000539 | 15111600000073