## Exploded view
Midea RAC Exploded View
| Sale Model： | M3OF-27HFN1-M
| Factory Model： | US1-KFR78W/BP3T3N1-D30
| Product Name： | 62223-13352001
| Power Supply： | 208And230V_1Ph,FREQUENCY_60HZ |  |  | Export Time: | 2016-05-13 09:10:30
No. | Part Name | Quantity | Historic Part # | Modern Part #
1 | Rear net | 1 | #N/A | 12222000006604
2 | Condenser assembly | 1 | #N/A | 15822700A01013
3 | Pipe temperature sensor assembly | 1 | 202301300111 | 11201007000006
3 | Pipe temperature sensor assembly | 1 | 202301300422 | 11201007000044
4 | Rear right clapboard assembly | 1 | #N/A | 12222300000510
5 | Big handle | 1 | #N/A | 12222300000529
6 | Water collector | 1 | #N/A | 12122300000110
7 | Front right clapboard assembly | 1 | 201247500021 | 12222500000540
7.1 | Handle | 1 | 201148300287 | 12100702000038
8 | Valve plate | 1 | #N/A | 12222000005282
9 | Chassis assembly | 1 | #N/A | 12222000005267
10 | Front panel | 1 | #N/A | 12222500000588
11 | Air outlet grille | 1 | #N/A | 12222000004017
12 | Axial flow fan | 1 | 201100300532 | 12100105000084
13 | Brushless DC motor | 1 | 202400310139 | 11002015000247
14 | Supporter assembly of fan motor | 1 | #N/A | 12222000005162
15 | Left side plate assembly of cabinet | 1 | #N/A | 12222000006665
16 | Partition board assembly | 1 | 201248300337 | 12222200001156
17 | Ambient temperature sensor assembly | 1 | 202301300476 | 11201007000039
18 | Top cover assembly | 1 | 201247500024 | 12222500000541
19 | Electronic control box assembly | 1 | #N/A | 17222300000730
19.1 | Cover of electronic control box | 1 | 201137990004 | 12122000006905
19.2 | Outdoor main control board assembly | 1 | #N/A | 17122300001094
19.2 | Outdoor main control board assembly | 1 | #N/A | 17122300001552
19.4 | Electronic installing box | 1 | #N/A | 12122300000170
20 | Terminal board assembly | 1 | #N/A | 17222300000729
20.1 | Wire joint | 2 | 202301450156 | 17400401000135
20.2 | Terminal board | 1 | 201257190160 | 12222300000033
20.3 | Terminal board | 1 | 201257190161 | 12222300000032
21 | 4-ways valve assembly | 1 | #N/A | 15422300000604
21.1 | 4-ways valve | 1 | #N/A | 15500216000361
21.2 | Gas valve | 1 | 201600710712 | 15500204000049
21.4 | Muffler | 1 | 201601000082 | 15500506000007
22 | liquid valve assembly | 1 | #N/A | 15422300000404
22.1 | Liquid valve | 3 | 201600700107 | 15500208000028
22.2 | Electronic expansion valve assembly | 3 | 201601300658 | 15500213000046
23 | liquid valve assembly | 1 | #N/A | 15422300000405
23.1 | Liquid valve | 1 | 201600700100 | 15500208000047
24 | Copper nut | 3 | 201600320001 | 15500406000010
24 | Copper nut | 3 | 201600320002 | 15500406000012
24 | Copper nut | 3 | 201600320000 | 15500406000016
26 | Compressor | 1 | 201400611301 | 11103020000179
27 | Reactor | 1 | 202301000943 | 17400306000058
27 | Reactor | 1 | 202301000950 | 17400306000070
29 | Discharge temperature sensor assembly | 1 | 202448200000 | 11201007000246
30 | Electric heater of chassis | 1 | #N/A | 17402002000043
31 | Crankcase electric heater | 1 | #N/A | 17402001000119
33 | Gas valve assembly | 1 | #N/A | 15422300000406
33.1 | Gas valve | 3 | 201600700106 | 15500204000021
34 | Suction pipe assembly | 1 | #N/A | 15122300001047
39 | Accumulator cylinder | 1 | #N/A | 15500508000315
43 | Transfer connecter | 3 | 201650290241 | 15500307000001
| Line set (1/4" - 3/8") |  | 220056009101 | #N/A
| Line set (1/4" - 1/2") |  | 220056009502 | #N/A
| Line set (3/8" - 5/8") |  | 220056009104 | #N/A
| 1/2”--3/8” Adapter |  | 2016560A0039 | 15111600000083
| 1/4”--3/8” Adapter |  | 201656000547 | 15111600000081
| 3/8”--1/2” Adapter |  | 201650290241 | 15500307000001
| 3/8”--1/2” Adapter |  | 201600390010 | 15500405000008
| 1/2”--5/8” Adapter |  | 201656000539 | 15111600000073