## Sheet1
Midea RAC Exploded View
MCH3U-27PHH2
| Sale Model： | M3OF-27HFN1-M
| Factory Model： | US1-KFR78W/BP3T3N1-D30
| Product Name： | 62223-09170302
| Power Supply： | 208And230V_1Ph,FREQUENCY_60HZ |  | Export Time: | 2016-01-30 10:36:44
No. |  | Part Name | Quantity | Historic Part# | Modern Part#
1 |  | Rear net | 1 | #N/A | 12222000006604
2 |  | Condenser assembly | 1 | #N/A | 15822000A06389
3 |  | Pipe temperature sensor assembly | 1 | 202301300111 | 11201007000006
3 |  | Pipe temperature sensor assembly | 1 | 202301300422 | 11201007000044
4 |  | Rear right clapboard assembly | 1 | #N/A | 12222300000510
5 |  | Big handle | 1 | #N/A | 12222300000529
6 |  | Water collector | 1 | #N/A | 12122300000110
7 |  | Front right clapboard assembly | 1 | 201247500021 | 12222500000540
7.1 |  | Handle | 1 | 201148300287 | 12100702000038
8 |  | Valve plate | 1 | #N/A | 12222000005282
9 |  | Chassis assembly | 1 | #N/A | 12222000005267
10 |  | Front panel | 1 | #N/A | 12222500000588
11 |  | Air outlet grille | 1 | #N/A | 12222000004017
12 |  | Axial flow fan | 1 | 201100300532 | 12100105000084
13 |  | Brushless DC motor | 1 | 202400310139 | 11002015000247
14 |  | Supporter assembly of fan motor | 1 | #N/A | 12222000005162
15 |  | Left side plate assembly of cabinet | 1 | #N/A | 12222000006665
16 |  | Partition board assembly | 1 | 201248300337 | 12222200001156
17 |  | Ambient temperature sensor assembly | 1 | 202301300476 | 11201007000039
18 |  | Top cover assembly | 1 | 201247500024 | 12222500000541
19 |  | Electronic control box assembly | 1 | #N/A | 17222300000730
19.1 |  | Cover of electronic control box | 1 | 201137990004 | 12122000006905
19.2 |  | Outdoor main control board assembly | 1 | #N/A | 17122300001094
19.2 |  | Outdoor main control board assembly | 1 | #N/A | 17122300001552
19.4 |  | Electronic installing box | 1 | #N/A | 12122300000170
20 |  | Terminal board assembly | 1 | #N/A | 17222300000729
20.1 |  | Wire joint | 2 | 202301450156 | 17400401000135
20.2 |  | Terminal board | 1 | 201257190160 | 12222300000033
20.3 |  | Terminal board | 1 | 201257190161 | 12222300000032
21 |  | 4-ways valve assembly | 1 | #N/A | 15422300000347
21.1 |  | 4-ways valve | 1 | #N/A | 15500216000361
21.2 |  | Gas valve | 1 | 201600710712 | 15500204000049
22 |  | liquid valve assembly | 1 | #N/A | 15422300000404
22.1 |  | Liquid valve | 3 | 201600700107 | 15500208000028
22.2 |  | Electronic expansion valve assembly | 3 | 201601300658 | 15500213000046
23 |  | liquid valve assembly | 1 | #N/A | 15422300000405
23.1 |  | Liquid valve | 1 | 201600700100 | 15500208000047
24 |  | Copper nut | 3 | 201600320001 | 15500406000010
24 |  | Copper nut | 2 | 201600320002 | 15500406000012
24 |  | Copper nut | 3 | 201600320000 | 15500406000016
26 |  | Compressor | 1 | 201400611301 | 11103020000179
27 |  | Reactor | 1 | 202301000943 | 17400306000058
27 |  | Reactor | 1 | 202301000950 | 17400306000070
29 |  | Discharge temperature sensor assembly | 1 | 202448200000 | 11201007000246
30 |  | Electric heater of chassis | 1 | #N/A | 17402002000043
31 |  | Crankcase electric heater | 1 | #N/A | 17402001000119
33 |  | Gas valve assembly | 1 | #N/A | 15422300000406
33.1 |  | Gas valve | 3 | 201600700106 | 15500204000021
34 |  | Suction pipe assembly | 1 | #N/A | 15122300001047
37 |  | Exhaust pipe assembly | 1 | #N/A | 15122300001048
37.2 |  | Muffler | 1 | 201601000082 | 15500506000007
39 |  | Accumulator cylinder | 1 | #N/A | 15500508000315
43 |  | Transfer connecter | 2 | 201650290241 | 15500307000001