## Sheet1
Midea RAC Exploded View
| Sale Model： | MCH5U-48PHH2
| Factory Model： | US1-KFR140W/BP3T5N1-E30
| Product Name： | 62223-11815005
| Power Supply： | 208And230V_1Ph,FREQUENCY_60HZ |  | Export Time: | 2016-02-17 11:23:06
No. |  | Part Name | Quantity | Historic Part# | Modern Part#
1 |  | Ambient temperature sensor assembly | 1 | 202301300476 | 11201007000039
3 |  | Condenser assembly | 1 | #N/A | 15823000A01777
3 |  | Condenser assembly | 1 | #N/A | 15823000A01778
4 |  | Pipe temperature sensor assembly | 1 | 202301300111 | 11201007000006
4 |  | Pipe temperature sensor assembly | 1 | 202301300496 | 11201007000142
5 |  | Big Handle assembly | 1 | 201257190141 | 12222300000039
6 |  | Rear right clapboard assembly | 1 | #N/A | 12222000007125
8 |  | Water collector | 1 | #N/A | 12122000014341
9 |  | Front clapboard assembly | 1 | #N/A | 12222200002358
10 |  | Valve plate | 1 | #N/A | 12222000006744
11 |  | Chassis | 1 | #N/A | 12222000006290
12 |  | Partition board assembly | 1 | #N/A | 12222000005733
13 |  | Accumulator cylinder | 1 | 201601000656 | 15500508000009
15 |  | Left side plate assembly of cabinet | 1 | #N/A | 12222200002363
16 |  | Air outlet grille | 2 | #N/A | 12222000007905
16 |  | Air outlet grille | 1 | #N/A | 12222000A02031
17 |  | Front panel | 1 | #N/A | 12222000A02031
18 |  | Axial flow fan | 2 | 201100300557 | 12100105000022
19 |  | Fan motor | 2 | #N/A | 11002015002241
20 |  | Supporter assembly of fan motor | 1 | #N/A | 12222000006288
21 |  | Copper nut | 3 | 201600320001 | 15500406000010
21 |  | Copper nut | 2 | 201600320002 | 15500406000012
21 |  | Copper nut | 5 | 201600320000 | 15500406000016
22 |  | Discharge temperature sensor assembly | 1 | 202301390002 | 11201007000138
23 |  | Top cover assembly | 1 | #N/A | 12222200002359
24 |  | Compressor | 1 | #N/A | 11103020000619
25 |  | Discharge pipe assembly | 1 | #N/A | 15122000013594
25.1 |  | Pressure switch | 1 | 202301820038 | 17400516000020
25.2 |  | Muffler | 1 | 201601000040 | 15500506000012
26 |  | 4-way valve assembly | 1 | #N/A | 15422000007214
26.1 |  | 4-way valve | 1 | #N/A | 15500216000681
26.2 |  | Gas valve | 1 | 201600710712 | 15500204000049
27 |  | Liquid valve assembly | 1 | #N/A | 15422000007213
27.1 |  | Liquid valve | 5 | 201600700107 | 15500208000028
27.2 |  | Electronic expansion valve | 5 | #N/A | 15500213000565
28 |  | Electronic control box assembly | 1 | #N/A | 17222300001269
28.1 |  | Installation plate of electric parts | 1 | #N/A | 12222000006289
28.2 |  | Main control board assembly | 1 | #N/A | 17122300001572
28.10 |  | Installation box of electric parts | 1 | #N/A | 12122000014182
28.10 |  | Installation box of electric parts | 1 | #N/A | 12122000014342
28.10 |  | Installation box of electric parts | 1 | #N/A | 12122000014343
28.11 |  | Main control board assembly | 1 | #N/A | 17122000021908
28.12 |  | Main control board assembly | 1 | #N/A | 17122500001774
29 |  | Electronic control box assembly | 1 | #N/A | 17222300001268
29.1 |  | Wire joint | 1 | 202301400544 | 17400401000082
29.1 |  | Wire joint | 1 | 202301450157 | 17400401000084
29.1 |  | Wire joint | 1 | 202301450156 | 17400401000135
29.2 |  | Wire joint | 1 | #N/A | 12222300000288
30 |  | Suction pipe assembly | 1 | #N/A | 15122000013597
30.1 |  | Pressure switch | 1 | 202301820021 | 17400516000008
31 |  | Reactor | 1 | 202301000982 | 11201101000002
32 |  | Cover of inductance | 1 | #N/A | 12222000006284
33 |  | Installtation base of inductance | 1 | #N/A | 12222000006286
34 |  | Liquid valve assembly | 1 | #N/A | 15422000007212
34.1 |  | Liquid valve | 1 | 201600700100 | 15500208000047
35 |  | 4-way valve assembly | 1 | #N/A | 15422000007215
35.1 |  | Gas valve | 3 | 201600700106 | 15500204000021
35.1 |  | Gas valve | 2 | 201600700111 | 15500204000058
38 |  | Crankcase electric heater | 1 | 202403101726 | 17402001000003
39 |  | Electric heater of chassis | 1 | #N/A | 17402002000043