## Sheet1
Midea RAC Exploded View
MCHS-12PSH1
| Sale Model： | MOB01-12HFN1-BT0W
| Factory Model： | US-KFR35W/BP3N1-B01(T0)-W
| Product Name： | 62220-09748304
| Power Supply： | 115V_1Ph,FREQUENCY_60HZ |  | Export Time: | 2016-02-02 16:11:32
No. |  | Part Name | Quantity | Historic Part# | Modern Part#
1 |  | Ambient temperature sensor assembly | 1 | 202301300476 | 11201007000039
2 |  | Condenser assembly | 1 | #N/A | 15822000A04253
3 |  | Pipe temperature sensor assembly | 1 | 202440500004 | 11201007000136
4 |  | Right clapboard assembly | 1 | #N/A | 12222000005745
5 |  | Big handle | 1 | #N/A | 12222000005102
6 |  | Water collector | 1 | 201137500025 | 12122000007150
7 |  | Chassis assembly | 1 | #N/A | 12222000005062
8 |  | Front panel | 1 | #N/A | 12222000004962
9 |  | Air outlet grille | 1 | #N/A | 12222000005242
10 |  | Axial flow fan | 1 | 201100300555 | 12100105000003
11 |  | Fan Motor | 1 | 202400310152 | 11002015000041
12 |  | Supporter assembly of fan motor | 1 | 201248100419 | 12222200001462
13 |  | Left supporter | 1 | #N/A | 12222000006504
14 |  | Top cover assembly | 1 | 201237500279 | 12222000002451
15 |  | Partition board assembly | 1 | #N/A | 12222000003984
16 |  | Reactor | 1 | 202301000860 | 17400306000019
17 |  | 4-Ways valve assembly | 1 | #N/A | 15422000005173
17.1 |  | Gas valve | 1 | 201600700111 | 15500204000058
17.2 |  | 4-Ways valve | 1 | #N/A | 15500216000341
17.3 |  | Valve plate | 1 | 201237300325 | 12222000002571
18 |  | Liquid valve assembly | 1 | #N/A | 15422000005172
18.1 |  | Liquid valve | 1 | 201600700107 | 15500208000028
19 |  | Compressor | 1 | #N/A | 11103020000479
20 |  | Discharge temperature sensor assembly | 1 | 202301300103 | 11201007000005
21 |  | Electronic control box assembly | 1 | #N/A | 17222000A16668
21.1 |  | Cover of electronic control box | 1 | 201237300311 | 12222000001455
21.2 |  | Outdoor power board assembly | 1 | #N/A | 17122000A13696
21.3 |  | Support of electronic control box | 1 | 201137300252 | 12122000006913
21.5 |  | Electronic installing box | 1 | 201237300308 | 12222000001311
22 |  | Copper nut | 1 | 201600320002 | 15500406000012
22 |  | Copper nut | 1 | 201600320000 | 15500406000016
25 |  | Rear net | 1 | 201237500299 | 12222000003622
27 |  | Capacitor of compressor | 1 | 202401090021 | 17400103000052
28 |  | Capacitor clip | 1 | 201200100026 | 12200203000007
29 |  | Crankcase electric heater | 1 | 202403100508 | 17402001000018
32 |  | Terminal board | 1 | 201237500304 | 12222000002259
33 |  | Wire joint | 1 | 202301400482 | 17400401000035
34 |  | Capacitor | 1 | 202401090021 | 17400103000052