## Sheet1
Midea RAC Exploded View
MCHSU-09PHH2
| Sale Model： | MOB01-09HFN1-MW0W
| Factory Model： | US1-KFR26W/BP3N1-B01(W0)-W
| Product Name： | 62220-09748306
| Power Supply： | 208And230V_1Ph,FREQUENCY_60HZ |  | Export Time: | 2016-01-30 09:23:08
No. |  | Part Name | Quantity | Historic Part# | Modern Part#
1 |  | Ambient temperature sensor assembly | 1 | 202301300476 | 11201007000039
2 |  | Condenser assembly | 1 | #N/A | 15822000A02891
3 |  | Pipe temperature sensor assembly | 1 | 202301300445 | 11201007000069
4 |  | Right clapboard assembly | 1 | #N/A | 12222000005745
4.1 |  | Installation plate of electric parts | 1 | 201237500304 | 12222000002259
4.2 |  | Wire joint | 1 | 202301400256 | 17400401000075
5 |  | Big handle | 1 | #N/A | 12222000005102
6 |  | Water collector | 1 | 201137500025 | 12122000007150
7 |  | Chassis assembly | 1 | #N/A | 12222000004326
8 |  | Front panel | 1 | #N/A | 12222000004962
10 |  | Axial flow fan | 1 | 201100300556 | 12100105000051
11 |  | Fan Motor | 1 | 202400310152 | 11002015000041
12 |  | Supporter assembly of fan motor | 1 | 201248100419 | 12222200001462
13 |  | Left supporter | 1 | #N/A | 12222000006504
14 |  | Top cover assembly | 1 | 201237500279 | 12222000002451
15 |  | Partition board assembly | 1 | 201248100420 | 12222200001146
16 |  | Reactor | 1 | 202301000903 | 17400306000053
17 |  | 4-Ways valve assembly | 1 | #N/A | 15422000004033
17.1 |  | Gas valve | 1 | 201600700106 | 15500204000021
17.2 |  | 4-Ways valve | 1 | 201600630515 | 15500216000028
17.3 |  | Valve plate | 1 | 201237300325 | 12222000002571
18 |  | Liquid valve assembly | 1 | #N/A | 15422000004032
18.1 |  | Liquid valve | 1 | 201600700107 | 15500208000028
18.2 |  | Electronic expansion valve | 1 | 201601300676 | 15500213000178
19 |  | Compressor | 1 | #N/A | 11103020000215
20 |  | Discharge temperature sensor assembly | 1 | 202301300103 | 11201007000005
21 |  | Electronic control box assembly | 1 | #N/A | 17222000008508
21.1 |  | Cover of electronic control box | 1 | 201119901051 | 12122000006856
21.2 |  | Outdoor power board assembly | 1 | #N/A | 17122000017248
21.3 |  | Support of electronic control box | 1 | #N/A | 12122000014683
21.5 |  | Electronic installing box | 1 | 201219910026 | 12222000001325
22 |  | Copper nut | 1 | 201600320001 | 15500406000010
22 |  | Copper nut | 1 | 201600320000 | 15500406000016
25 |  | Crankcase electric heater | 1 | 201237500299 | 12222000003622
32 |  | Terminal board | 1 | 201237500304 | 12222000002259
33 |  | Wire joint | 1 | 202301400256 | 17400401000075