## Exploded view
Midea RAC Exploded View
| Sale Model： | MOB01-12HFN1-MV0W
| Factory Model： | US1-KFR35W/BP3N1-B01(V0)-W
| Product Name： | 62220-13352007
| Power Supply： | 208And230V_1Ph,FREQUENCY_60HZ |  |  | Export Time: | 2016-05-13 10:01:22
No. | Part Name | Quantity | Historic Part # | Modern Part #
1 | Ambient temperature sensor assembly | 1 | 202301300476 | 11201007000039
2 | Condenser assembly | 1 | #N/A | 15822000A04451
3 | Pipe temperature sensor assembly | 1 | 202301300445 | 11201007000069
4 | Right clapboard assembly | 1 | #N/A | 12222000005745
4.1 | Installation plate of electric parts | 1 | 201237500304 | 12222000002259
4.2 | Wire joint | 1 | 202301400256 | 17400401000075
5 | Big handle | 1 | #N/A | 12222000005102
6 | Water collector | 1 | 201137500025 | 12122000007150
7 | Chassis assembly | 1 | #N/A | 12222000004326
8 | Front panel | 1 | #N/A | 12222000004962
8.1 | Air outlet grille | 1 | #N/A | 12222000005242
9 | Air outlet grille | 1 | #N/A | 12222000005242
10 | Axial flow fan | 1 | 201100300556 | 12100105000051
11 | Fan Motor | 1 | 202400310152 | 11002015000041
12 | Supporter assembly of fan motor | 1 | 201248100419 | 12222200001462
13 | Left supporter | 1 | #N/A | 12222000006504
14 | Top cover assembly | 1 | 201248110033 | 12222200001291
15 | Partition board assembly | 1 | 201248100420 | 12222200001146
16 | Reactor | 1 | 202301000903 | 17400306000053
17 | 4-Ways valve assembly | 1 | #N/A | 15422000004192
17.1 | Gas valve | 1 | 201600700111 | 15500204000058
17.2 | 4-Ways valve | 1 | 201600630515 | 15500216000028
17.3 | Valve plate | 1 | 201237300325 | 12222000002571
18 | Liquid valve assembly | 1 | #N/A | 15422000004032
18.1 | Liquid valve | 1 | 201600700107 | 15500208000028
18.2 | Electronic expansion valve | 1 | 201601300676 | 15500213000178
19 | Compressor | 1 | #N/A | 11103020000215
20 | Discharge temperature sensor assembly | 1 | 202301300103 | 11201007000005
21 | Electronic control box assembly | 1 | #N/A | 17222000008509
21.2 | Outdoor power board assembly | 1 | #N/A | 17122000017250
21.3 | Support of electronic control box | 1 | #N/A | 12122000014683
21.5 | Electronic installing box | 1 | 201219910026 | 12222000001325
22 | Copper nut | 1 | 201600320002 | 15500406000012
22 | Copper nut | 1 | 201600320000 | 15500406000016
25 | Rear net | 1 | 201237500299 | 12222000003622
29 | Crankcase electric heater | 1 | 202403100501 | 17402001000008
32 | Terminal board | 1 | 201237500304 | 12222000002259
33 | Wire joint | 1 | 202301400256 | 17400401000075
| Line set (1/4" - 3/8") |  | 220056009101 | #N/A
| Line set (1/4" - 1/2") |  | 220056009502 | #N/A
| Line set (3/8" - 5/8") |  | 220056009104 | #N/A
| 1/2”--3/8” Adapter |  | 2016560A0039 | 15111600000083
| 1/4”--3/8” Adapter |  | 201656000547 | 15111600000081
| 3/8”--1/2” Adapter |  | 201650290241 | 15500307000001
| 3/8”--1/2” Adapter |  | 201600390010 | 15500405000008
| 1/2”--5/8” Adapter |  | 201656000539 | 15111600000073