## Sheet1
Midea RAC Exploded View
MCHSU-36CSH2
| Sale Model： | MOD02U-36HFN1-M
| Factory Model： | US1-KFR105W/BP3T1N1-D02
| Product Name： | 62225-09170304
| Power Supply： | 208_230V_1Ph,FREQUENCY_60HZ |  | Export Time: | 2016-02-02 10:53:02
No. |  | Part Name | Quantity | Historic Part# | Modern Part#
1 |  | Left side plate assembly of cabinet | 1 | #N/A | 12222000006665
1.1 |  | Small handle | 1 | 201148100137 | 12100701000033
2 |  | Condenser assembly | 1 | #N/A | 15822000A05892
3 |  | Pipe temperature sensor assembly | 1 | 202301300111 | 11201007000006
4 |  | Rear right clapboard assembly | 1 | #N/A | 12222000006664
5 |  | Big handle | 1 | #N/A | 12222000004019
6 |  | Water collector | 1 | 201148300277 | 12122200002695
7 |  | Front right clapboard assembly | 1 | 201247500021 | 12222500000540
7.1 |  | Handle | 1 | 201148300287 | 12100702000038
9 |  | Chassis assembly | 1 | #N/A | 12222000004018
10 |  | Front panel | 1 | #N/A | 12222500000588
11 |  | Air outlet grille | 1 | #N/A | 12222000004017
12 |  | Axial flow fan | 1 | 201100300532 | 12100105000084
13 |  | Fan motor | 1 | 202400310139 | 11002015000247
14 |  | Supporter assembly of fan motor | 1 | #N/A | 12222000005162
15 |  | Accumulator cylinder | 1 | 201601000659 | 15500508000002
16 |  | Partition board assembly | 1 | 201248300341 | 12222200001158
18 |  | Top cover assembly | 1 | #N/A | 12222500000587
19 |  | Electronic control box assembly | 1 | #N/A | 17222000A16108
19.1 |  | Cover of electronic control box | 1 | 201148300284 | 12122200002719
19.2 |  | Outdoor main control board assembly | 1 | #N/A | 17122500001211
19.4 |  | Electronic installing box | 1 | 201148300283 | 12122200002715
19.7 |  | Inverter control board assembly | 1 | #N/A | 17122500001174
20 |  | Terminal board assembly | 1 | 203375590372 | 17223000000581
20.1 |  | Wire joint | 1 | 202301400256 | 17400401000075
20.1 |  | Wire joint | 1 | 202301450012 | 17400401000098
20.2 |  | Terminal board | 1 | 201248300339 | 12222200001476
21 |  | 4-ways valve assembly | 1 | #N/A | 15422500000236
21.1 |  | Gas valve | 1 | 201600720398 | 15500204000025
21.2 |  | 4-ways valve | 1 | #N/A | 15500216000681
22 |  | liquid valve assembly | 1 | #N/A | 15423000001918
22.1 |  | Liquid valve | 1 | 201600720091 | 15500204000008
22.2 |  | Electronic expansion valve | 1 | #N/A | 15500213000245
22.3 |  | Valve plate | 1 | #N/A | 12222200002110
24 |  | Copper nut | 1 | 201600320003 | 15500406000003
25 |  | Rear net | 1 | #N/A | 12222000006604
26 |  | Compressor | 1 | #N/A | 11103020000439
29 |  | Discharge temperature sensor assembly | 1 | 202448200000 | 11201007000246
30 |  | Ambient temperature sensor assembly | 1 | 202301300476 | 11201007000039
31 |  | Suction assembly | 1 | #N/A | 15122500001076
31.1 |  | Low pressure switch | 1 | 202301800118 | 17400516000024
32 |  | Discharge assembly | 1 | #N/A | 15122500001079
32.1 |  | High pressure switch | 1 | 202301820020 | 17400516000007
38 |  | Crankcase electric heater | 1 | #N/A | 17402001000119
39 |  | Electric heater of chassis | 1 | #N/A | 17402002000043