## Sheet1
Midea RAC Exploded View
MEHSU-12CHN2
| Sale Model： | MFAU-12HRFN1-M(C)
| Factory Model： | CAUS1-KFR35Z/BP3N1Y-AUC-W(CFAU-12HRFN1-M(C))
| Product Name： | 62226-09223902
| Power Supply： | 208-230V~ 60Hz 1Phase |  | Export Time: | 2016-01-30 09:51:25
No. |  | Part Name | Quantity | Historic Part# | Modern Part#
1 |  | Panel assembly | 1 | 201144090001 | 12122600000014
2 |  | Air filter | 1 | 201144090002 | 12100204000704
3 |  | Panel frame assembly | 1 | 201144090022 | 12122600000026
4 |  | Evaporator assembly | 1 | #N/A | 15822600A00004
4.1 |  | Pipe temperature sensor assembly | 1 | 202301310085 | 11201007000318
5 |  | Ventilation assembly | 1 | 201144090030 | 12122600000037
6 |  | Chassis assembly | 1 | 201144090016 | 12122600000035
6.1 |  | Hang board assembly | 1 | 201244090009 | 12222600000003
7 |  | Air cleaner | 2 | 201131410703 | 12100204000685
8 |  | Bracket of air filter | 2 | 201132200713 | 12122000007415
9 |  | Electronic control box assembly | 1 | 203344090023 | 17222600000008
9.1 |  | Installation plate of electric parts I | 1 | 201144090009 | 12122600000030
9.2 |  | Electrical control box | 1 | 201144090010 | 12122600000031
9.3 |  | Fixing board of electronic control box II | 1 | 201244090003 | 12222600000010
9.4 |  | Ambient temperature sensor assembly | 1 | 202301310072 | 11201007000073
9.5 |  | Wire joint | 1 | 202301420101 | 17400401000069
9.7 |  | Electronic control box seal plate | 1 | 201244090002 | 12222600000008
9.8 |  | Installation plate of electric parts | 1 | 201144090008 | 12122600000029
9.9 |  | Display board assembly | 1 | 201344090004 | 17122700000267
9.10 |  | Main control board assembly | 1 | 201344090039 | 17122700000040
9.11 |  | Fixing board of electronic control box I | 1 | 201244190000 | 12222600000009
9.14 |  | Auxiliary electric heater control board | 1 | 201344090029 | 17122700000382
10 |  | Water collector | 1 | 201144090044 | 12122600000007
10.1 |  | Louver motor | 1 | 202400200052 | 11002010000002
10.2 |  | Underside louver | 1 | 201144080028 | 12122600000055
11 |  | Air outlet assembly | 1 | 201144090042 | 12122600000027
11.1 |  | Louver motor | 1 | 202400200053 | 11002010000046
11.2 |  | Rear net | 1 | 201244090008 | 12222600000006
11.3 |  | Up louver | 1 | 201144080012 | 12122600000072
13 |  | Pipe clamp | 1 | 201144090011 | 12100303000076
14 |  | Installation clamp | 2 | 201244290015 | 12222700000052
15 |  | Remote controller | 1 | #N/A | 17317000A05205
18 |  | Cover of electronic control box | 1 | #N/A | 12222600000027
19 |  | Centrifugal fan | 1 | 201100100020 | 12100103000016
20 |  | Fan motor | 1 | 202400300014 | 11002015000337
21 |  | Supporter assembly of fan motor | 1 | 201244090005 | 12222600000004
25 |  | Bracket of remote Controller | 1 | 2011550A4895 | 12117000A01962