## Sheet1
Ecoer R410a to R454b / R32 Product Transition Chart
Description | R410a | R454b/R32 | Notes
3 Ton Inverter Heat Pump Outdoor Unit 19 SEER | EODA19H-2436AAA | EODA19H-2436ABA | R454b up to 20 SEER
5 Ton Inverter Heat Pump Outdoor Unit 19 SEER | EODA19H-4860AAA | EODA19H-4860ABA | R454b up to 20 SEER
3 Ton Inverter Heat Pump Outdoor Unit up to 17 SEER |  | EODA16H-2436ABA | New Item R454b up to 17 SEER
5 Ton Inverter Heat Pump Outdoor Unit up to 17 SEER |  | EODA16H-4860ABA | New Item R454b up to 17 SEER
2 Ton Multiple Position Air Handler, ECM Motor | EAHATN-24BAA | EAHDEN-24ABA | R454b Air Handler Shipped with Leak Detector System Installed
3 Ton Multiple Position Air Handler, ECM Motor | EAHATN-36BAA | EAHDEN-36ABA | R454b Air Handler Shipped with Leak Detector System Installed
4 Ton Multiple Position Air Handler, ECM Motor | EAHATN-48BAA | EAHDEN-48ABA | R454b Air Handler Shipped with Leak Detector System Installed
5 Ton Multiple Position Air Handler, ECM Motor | EAHATN-60BAA | EAHDEN-60ABA | R454b Air Handler Shipped with Leak Detector System Installed
24/30 cased coil A width | GNC2430APT | EBCT2430ABA | R454b Cased coil shipped with Leak Detector Sensor System Installed
24/30 cased coil B width | GNC2430BPT | EBCT2430BBA | R454b Cased coil shipped with Leak Detector Sensor System Installed
30/36 cased coil B width | GNC3036BPT | EBCT3036BBA | R454b Cased coil shipped with Leak Detector Sensor System Installed
42/48 cased coil C width | GNC4248CPT | EBCT4248CBA | R454b Cased coil shipped with Leak Detector Sensor System Installed
48/60 cased coil C width | GNC4860CPT | EBCT4860CBA | R454b Cased coil shipped with Leak Detector Sensor System Installed
48/60 cased coil D width | GNC4860DPT | EBCT4860DBA | R454b Cased coil shipped with Leak Detector Sensor System Installed
5 Ton inverter Packagd Unit | ERDA19H-60AAA | ERDA19H-60ABA | R454b Packaged Unit shipped with Leak Detector Sensor System Installed
3Ton Heat Pump, Side Discharge 16 SEER | ESCA16H-36 | ESCA16H-36BBA
5Ton Heat Pump, Side Discharge 16 SEER | ESCA16H-60 | ESCA16H-60BBA
3Ton Heat Pump, Side Discharge 17 SEER |  | ESCA17H-36ABA | New Item
5Ton Heat Pump, Side Discharge 17 SEER |  | ESCA17H-60ABA | New item
2Ton Multiple Position Air Handler, ECM Motor | EAHAEC-24 | EAHDEC-24ABA | R454b Air Handler Shipped with Leak Detector System Installed
3Ton Multiple Position Air Handler, ECM Motor | EAHAEC-36 | EAHDEC-36ABA | R454b Air Handler Shipped with Leak Detector System Installed
5Ton Multiple Position Air Handler, ECM Motor | EAHAEC-60 | EAHDEC-60ABA | R454b Air Handler Shipped with Leak Detector System Installed
3Ton Multiple Position Cased Coil, all aluminum | SNC36CPT | ESCT3036BBA | R454b Cased coil shipped with Leak Detector Sensor System Installed
4Ton Multiple Position Cased Coil, all aluminum | SNC48DPT | ESCT4860CBA | R454b Cased coil shipped with Leak Detector Sensor System Installed
3 Ton 120V Hydronic Air Handler with 3 rows hot water coiI | EAHETN-36HA | EAHETN-36HB | R454b Air Handler Shipped with Leak Detector System Installed
5Ton 120V Hydronic Air Handler with 4 rows hot water coil | EAHETN-60HA | EAHETN-60HB | R454b Air Handler Shipped with Leak Detector System Installed
19kw Monobloc Air-to-Water Heat Pump R32 |  | ESMA-060ADP | New Item
80k 96% AFUE ECM furnace, upflow and horizontal | MGH96M060B3A | EVMF98M28080B3L | 28k to 80k btu, fully modulating Furnace B width, 4-positions installation
80k 96% AFUE ECM furnace, upflow and horizontal | MGH96M080B3A | EVMF98M28080B3L | 28k to 80k btu, fully modulating Furnace B width, 4-positions installation
80k 96% AFUE ECM furnace, upflow and horizontal | MGH96M080C4A | EVMF98M35100C5L | 35k to 100k btu, fully modulating, Furnace C width, 4-positions installation
100k 96% AFUE ECM furnace, upflow and horizontal | MGH96M100C5A | EVMF98M35100C5L | 35k to 100k btu, fully modulating, Furnace C width, 4-positions installation
100k 96% AFUE ECM furnace, upflow and horizontal | MGH96M100D5A |  | Discontinued
100k 96% AFUE ECM furnace, upflow and horizontal | MGH96M120D5A |  | Discontinued
60k 95% AFUE ECM furnace, 2 stage, 17.5" width, upflow and horizontal | FG7TC-060D-V24BP | EVMF98M28080B3L | 28k to 80k btu, fully modulating Furnace B width, 4-positions installation
80k 95% AFUE ECM furnace, 2 stage, 21" width, upflow and horizontal | FG7TC-080D-V35CP | EVMF98M35100C5L | 35k to 100k btu, fully modulating, Furnace C width, 4-positions installation
100k 95% AFUE ECM furnace, 2 stage, 21" width, upflow and horizontal | FG7TC-100D-V35CP | EVMF98M35100C5L | 35k to 100k btu, fully modulating, Furnace C width, 4-positions installation
Description | R410a | R454b/R32 | Notes
54k 80% AFUE furnace, Single Stage, ECM, 14.5" Width | FG7SA-054C-T23AP
72k 80% AFUE furnace, Single Stage, ECM, 17.5" Width | FG7SA-072C-T24BP
90k 80% AFUE furnace, Single Stage, ECM, 17.5" Width | FG7SA-090C-T24BP
90k 80% AFUE furnace, Single Stage, ECM, 21" Width | FG7SA-090C-T35CP
108k 80% AFUE furnace, Single Stage, ECM, 21" Width | FG7SA-108C-T35CP
Basic Control Box (For use with ESMA Monobloc Heat Pump) |  | EHM0A-060A | New Item
Control Box with Domestic Hot Water Control Valve (For use with ESMA Monobloc Heat Pump) |  | EHM1A-060A13 | New Item
R454b leak detector kit with additional relay for A cabinet (14.5") |  | A2L4RA | New Item
R454b leak detector kit with additional relay for B/C/D cabinet (17.5"/21"/24.5") |  | A2L4RB | New Item
Downflow Kit (For use with EAHETN 36 HA, HB Air Handler) | DFK-6 |  | New Item Not Coded
Downflow Kit (For use with EAHETN 60 HA, HB Air Handler) | DFK-10 |  | New Item Not Coded
IoT Cellular Gateway ( For use with EODA Heat Pump) | EG910L
ecolink Internet-based Gateway and Adapter Set (For use with R410a, R454b EODA Heat Pump) | ELK01
ecolink Adapter for outdoor unit (For use with R410a , R454b EODA Heat Pump) | ELO02
ecolink Internet-based Gateway (For use with R410a, R454b EODA Heat Pump) | ELG02
Downflow Kit (For use with EAHATN, EAHDEN Air Handler) | EAC23008100009
Dual Fuel Kit (Optional for use with GNC, EBCT,SNC, ESCT Cased Coils | EAC1099000007
5 kW Heat Strip ( For use with ERDA Package Unit) | EHK-05J
8 kW Heat Strip ( For use with ERDA Package Unit) | EHK-08J
10 kW Heat Strip ( For use with ERDA Package Unit) | EHK-10J
15 kW Heat Strip ( For use with ERDA Package Unit) | EHK-15J
20 kW Heat Strip ( For use with ERDA Package Unit) | EHK-20J
5 kW Heat Strip ( For use with EAHATN, EAHDEN air Handler) | EHK05B
8 kW Heat Strip ( For use with EAHATN, EAHDEN air Handler) | EHK08B
10 kW Heat Strip ( For use with EAHATN, EAHDEN air Handler) | EHK10B
15 kW Heat Strip ( For use with EAHATN, EAHDEN air Handler) | EHK15B
20 kW Heat Strip ( For use with EAHATN, EAHDEN air Handler) | EHK20B
8 kW Heat Strip ( For use with EAHAEC, EAHDEC air Handler) | E-EAH08B(UL)
10 kW Heat Strip ( For use with EAHAEC, EAHDEC air Handler) | E-EAH10B(UL)
15 kW Heat Strip ( For use with EAHAEC, EAHDEC air Handler) | E-EAH15B(UL)
20 kW Heat Strip ( For use with EAHAEC, EAHDEC air Handler) | E-EAH20B(UL)
Thermostat (For use with R410a, R454b EODA Heat Pump | EST01
Thermostat (For use with R410a, R454b EODA Heat Pump | EST02
Thermostat (For use with R410a, R454b ESCA 16,17 Heat Pump) | ECT01
LP KIT 9For use with FG7SA, FG7TC Furnace) | 905028
Air handler control board with anti draft control ( For Use with EAHATN air handler) | 36K-FLF001