## Heat Pump Spare Parts 2026
ESi Decades Series
Heat Pump Units
Description | EODA18H-2436 | EODA18H-4860
| Part # | Part #
Brushless DC Motor | EAC230904010 | EAC230904010
Compressor | EAC231235530 | EAC231235532
Motherboard component | EAC230904156 | EAC230904157
EEV solenoid coil | EAC3120290034 | EAC3120290034
Electronic expansion valve (EEV) | EAC231235157 | EAC231235779
High pressure sensor | EAC231235159 | EAC231235159
Low pressure sensor | EAC231235158 | EAC231235158
Discharge Temp. sensor | EAC2309100007 | EAC2309100007
Pipe Temp. sensor assembly | EAC2309100006 | EAC2309100006
Liquid block valve | EAC231231469 | EAC231231469
Gas block valve | EAC231231468 | EAC3120130060
ESi Decades Extreme Series
Heat Pump Units
Description | EODA18H-2436BAA | EODA18H-4860BAA
Part # | Price (USD) | Price (USD)
Brushless DC Motor | EAC230904010 | EAC230904010
Compressor | EAC92014000860 | EAC231235532
Motherboard component | EAC230904158 | EAC33301000005
EEV solenoid coil | EAC3120290034 | EAC3120290034
Electronic expansion valve (EEV) | EAC92007011809 | EAC92007011812
High pressure sensor | EAC231235159 | EAC231235159
Low pressure sensor | EAC231235158 | EAC231235158
Temp sensor assembly | EAC230901233 | EAC230901233
Discharge Temp sensor assembly | EAC3160130008A | EAC3160130008A
Pipe Temp sensor assembly | EAC230901018 | EAC230901018
Liquid block valve | EAC231231469 | EAC231231469
Gas block valve | EAC231231468 | EAC3120130060
TDi Pro Series - R410A
Heat Pump Units
Description | EODA19H-2436AAA | EODA19H-4860AAA
| Part # | Part #
Brushless DC Motor | EAC2323100001 | EAC2323100001
Compressor | EAC2315100002 | EAC2315100001
Motherboard component | EAC230904165 | EAC230904166
EEV solenoid coil | EAC2309100009 | EAC2309100009
Electronic expansion valve (EEV) | EAC2312100013 | EAC2312100007
Low pressure sensor | EAC2309100004 | EAC2309100004
High pressure sensor | EAC2309100002 | EAC2309100002
Temp sensor assembly | EAC2309100005 | EAC2309100005
Discharge sensor assembly | EAC2309100007 | EAC2309100007
Pipe sensor assembly | EAC2309100006 | EAC2309100006
Liquid block valve | EAC2312100008 | EAC2312100008
Gas block valve | EAC2312100012 | EAC2312100004
TDi Pro 2 Series - R454B
Heat Pump Units
Description | EODA19H-2436ABA | EODA19H-4860ABA
| Part # | Part #
Brushless DC Motor | EAC2323100001 | EAC2323100001
Compressor | EAC2315100003 | EAC2315100004
Motherboard component | EAC230904173 | EAC230904171
EEV solenoid coil | EAC2309100009 | EAC2309100009
Electronic expansion valve (EEV) | EAC2312100013 | EAC2312100007
SDi Decades Extreme Series - R410A
Heat Pump Units
Description | ESCA16H-36 | ESCA16H-60
Part # | Price (USD) | Part #
Brushless DC Motor | EAC11002015009825 | EAC11002015009825
Compressor | EAC11103020A00976 | EAC11103020006399
Motherboard component | EAC17222000037996 | EAC17222000040226
Electronic expansion valve assembly (EEV) | EAC15422000017595 | EAC15422000022897
TDi Select 2 Series-R32
Heat Pump Units
Description | EODA17H-2436ADA | EODA17H-4860ADA
| Part # | Part #
Brushless DC Motor | 51002015000008 | 51002015000008
Compressor | 51103020000005 | 51103020000008
Motherboard component | 57131200000017 | 57131200000016
EEV solenoid coil | 57400302000001 | 57400302000001
Electronic expansion valve (EEV) | 55500213000002 | 55500213000001
Low pressure sensor | 51201008000002 | 51201008000002
High pressure sensor | 51201008000001 | 51201008000001
Temp sensor assembly | 51201007000001 | 51201007000001
Discharge sensor assembly | 51201007000003 | 51201007000003
Pipe sensor assembly | 51201007000002 | 51201007000002
Liquid block valve | 55500206000007 | 55500206000007
Gas block valve | 55500206000008 | 55500206000009

## Air handler Spare Parts 2026
ESi Decades Series
Air Handler Units
Description | EAHATN-24 | EAHATN-36 | EAHATN-48 | EAHATN-60
| Part # | Part # | Part # | Part #
Brushless DC Motor | 230904147 | 230904148 | 230904170 | 230904170
PCB assembly | 230904221 | 230904221 | 230904221 | 230904221
TXV | 231235928 | 231235928 | 231235631 | 231235631
ESi Decades Extreme Series
Air Handler Units
Description | EAHATN-24 | EAHATN-36 | EAHATN-48 | EAHATN-60
| Part # | Part # | Part # | Part #
Brushless DC Motor | EAC230904147 | EAC230904148 | EAC230904170 | EAC230904170
PCB assembly | EAC230904222 | EAC230904222 | EAC230904222 | EAC230904222
TXV | EAC231235928 | EAC231235928 | EAC231235631 | EAC231235631
TDi Pro Series-R410A
Air Handler Units
Description | EAHATN-24BAA | EAHATN-36BAA | EAHATN-48BAA | EAHATN-60BAA
| Part # | Part # | Part # | Part #
Brushless DC Motor | 230904147 | 230904148 | 230904170 | 230904170
PCB assembly | 230904222 | 230904222 | 230904222 | 230904222
TXV | 231235928 | 231235928 | 231235631 | 231235631
TDi Pro 2 Series-R454B
Air Handler Units
Description | EAHDEN-24ABA & EAHDEN-36ABA | EAHDEN-48ABA & EAHDEN-60ABA
| Part # | Part #
Brushless DC Motor | EAC2323100006 | EAC2323100007
PCB assembly | EAC230906001 | EAC230906001
EEV solenoid coil | EAC2309100027 | EAC2309100027
Electronic expansion valve (EEV) | EAC2312100007 | EAC2312100101
SDi Decades Extreme Series
Air Handler Units
Description | EAHAEC-24 | EAHAEC-36 | EAHAEC-60
| Part # | Part # | Part #
Brushless DC Motor | EAC11002015013969 | EAC11002015015864 | EAC11002015015863
PCB assembly | EAC17223000010264 | EAC17223000009544 | EAC17223000009544
Electronic expansion valve | EAC11501020000261 | EAC15500213000265 | EAC15500213000245
EAHETN Hydro Air Handler - R410A
Air Handler Units
Description | EAHETN-36HA | EAHETN-60HA
| Part # | Part #
SERV PRGM MOTOR | 864535 | 883259F
TXV | 121849+4 | 121677+4
BLOWER TIME DELAY RELAY | 8231 | 8231
BREAKER 15 AMP/1 POLE | 8518 | 8518
TRANSFORMER 120V/40VA | 8247 | 8247
FREEZE THERMOSTAT HYDRONIC UNIT | 8545 | 8545
Hydronic Board w/ fuse | 8768 | 8768
Downflow Kit | DFK-6 | DFK-10
EAHETN Hydro Air Handler - R454B
Air Handler Units
Description | EAHETN-36HB | EAHETN-60HB
| Part # | Part #
SERV PRGM MOTOR | 864535 | 883259F
COIL ASSEMBLY, TXV, R454B | 121849JS | 121677JS
BREAKER 15 AMP/1 POLE | 8518 | /
BREAKER 25 AMP/1 POLE | / | 8807
TRANSFORMER 120V/40VA | 8247 | 8247
FREEZE THERMOSTAT HYDRONIC UNIT | 8545 | 8545
Hydronic Board w/ fuse | 8768 | 8768
Downflow Kit | DFK-6 | DFK-10
SERVICE KIT, A2L, MITIGATION CONTROL BOARD | 70023P-S | 70023P-S
SERVICE KIT, A2L, RELAY, 4PDT W/ SOCKET | 70091-S | 70091-S
SERVICE KIT, A2L, SENSOR CABLE 6FT | 70024-S | 70024-S
SENSOR, A2L, DUAL, SENSIENCE (TOD) W/CLIP | SE000A1AS | SE000A1AS
TDi Select 2 Series-R32
Air Handler Units
Description | EAHDEN-24BEA | EAHDEN-36BEA | EAHDEN-48BEA | EAHDEN-60BEA
| Part # | Part # | Part # | Part #
Evaporator Assembly | 558312000000 66 | 558312000000 66 | 558312000000 67 | 558312000000 67
Electronic Expansion Valve (EEV) | 555002130000 08 | 555002130000 08 | 55500213000009 | 55500213000009
Main Plastic Condensate Pan Assembly | 521312000000 42 | 521312000000 42 | 521312000000 42 | 521312000000 42
Condensate Pan Drain Plug | 521312000000 31 | 521312000000 31 | 521312000000 31 | 521312000000 31
Side Plastic Condensate Pan Assembly | 521312000000 44 | 521312000000 44 | 521312000000 43 | 521312000000 43
A2L refrigerant detection Kit | 512010060000 02 | 512010060000 02 | 512010060000 02 | 512010060000 02
Transformer | 512031020000 05 | 512031020000 05 | 512031020000 05 | 512031020000 05
PCB ass'y | 571312000000 59 | 571312000000 59 | 571312000000 59 | 571312000000 59
Terminal block | 512017080000 05 | 512017080000 05 | 512017080000 05 | 512017080000 05
Brushless DC Motor | 510020150000 06 | 510020150000 06 | 510020150000 07 | 510020150000 07
Motor clamp | 522331000001 14 | 522331000001 14 | 522331000001 14 | 522331000001 14
Motor mounting bracket assembly | 522331000001 15 | 522331000001 15 | 522331000001 15 | 522331000001 15
Centrifugal fan | 522001020000 02 | 522001020000 02 | 522001020000 01 | 522001020000 01
Refrigerant Tubing Assembly | 555312000000 56 | 555312000000 56 | 555312000000 57 | 555312000000 57
Indoor Unit Power Supply Cord | 574012010000 07 | 574012010000 07 | 574012010000 07 | 574012010000 07
Constant Airflow Motor Connection Cable | 574012020000 09 | 574012020000 09 | 574012020000 09 | 574012020000 09
9-Position Signal Harness | 574012030000 07 | 574012030000 07 | 574012030000 07 | 574012030000 07
5-Position Signal Harness | 574012030000 10 | 574012030000 10 | 574012030000 10 | 574012030000 10
T1 / T2 / T3 Sensors | 512010070000 04 | 512010070000 04 | 512010070000 04 | 512010070000 04
T4 / T5 Sensors | 512010070000 11 | 512010070000 11 | 512010070000 11 | 512010070000 11
Electronic Expansion Valve Coil | 574003020000 02 | 574003020000 02 | 574003020000 02 | 574003020000 02
Indoor Unit Power Ground Wire | 574012010000 14 | 574012010000 14 | 574012010000 14 | 574012010000 14

## Cased Coil Spare Parts 2026
EBCT Series-A Coil
A-Coil
Description | EBCT2430ABA | EBCT2430BBA | EBCT3036BBA
| Part # | Part # | Part #
TXV KIT (NON-BLEED) | X454S | X454S | X454S
VERTICAL DRAINPAN | Z30 PANS | Z31 PANS | Z31 PANS
HORIONTAL DRAINPAN | Z41PS | Z41PS | Z41PS
MCB BOARD W/ RELAY | MCB-R-01S | MCB-R-01S | MCB-R-01S
SENSOR W/ CLIP ONLY | SE000A1AS | SE000A1AS | SE000A1AS
SENSOR CABLE | 70026S | 70026S | 70026S
A2L KIT SENSOR W/ RELAY BOARD | A2LZR | A2LZR | A2LZR
EBCT Series-A Coil
A-Coil
Description | EBCT4248CBA | EBCT4860DBA | EBCT4860CBA
Part # | Part # | Part # | Part #
TXV KIT (NON-BLEED) | X454S | X454L | X454L
VERTICAL DRAINPAN | Z31 PANS | Z32 PANS | Z33 PANS
HORIONTAL DRAINPAN | Z43PS | Z43PS | Z43PS
MCB BOARD W/ RELAY | MCB-R-01S | MCB-R-01S | MCB-R-01S
SENSOR W/ CLIP ONLY | SE000A1AS | SE000A1AS | SE000A1AS
SENSOR CABLE | 70026S | 70026S | 70026S
A2L KIT SENSOR W/ RELAY BOARD | A2LZR | A2LZR | A2LZR

## Furnace Spare Parts 2026
MGV 80% Furnace
Description | MGV80M060B4A | MGV80M080B4A | MGV80M100C5A
| Part # | Part # | Part #
E-part box assembly | EAC2399110201 | EAC2399110201 | EAC2399110207
Thermostat | EAC2399110202 | EAC2399110202 | EAC2399110202
Air Differential Pressure Switch | EAC2399110199 | EAC2399110199 | EAC2399110199
Combustion Blower And Motor Assembly | EAC2399110203 | EAC2399110203 | EAC2399110203
Special Sensor | EAC2399110194 | EAC2399110194 | EAC2399110194
Lgnition Needle | EAC2399110193 | EAC2399110193 | EAC2399110193
Thermostat | EAC2399110192 | EAC2399110192 | EAC2399110192
Burner | EAC2399110204 | EAC2399110204 | EAC2399110204
Brushless DC Motor | EAC2399110205 | EAC2399110205 | EAC2399110190
Gas Valve | EAC2399110197 | EAC2399110197 | EAC2399110197
Copper Nozzle | EAC2399110196 | EAC2399110206 | EAC2399110206
MGV 96% Furnace
Description | MGV96U060B3C | MGV96U080B3C | MGV96U080C4C | MGV96U100C5C
| Part # | Part # | Part # | Part #
E-part box assembly | EAC2399110187 | EAC2399110187 | EAC2399110187 | EAC2399110187
Door Switch | EAC2399110188 | EAC2399110188 | EAC2399110188 | EAC2399110188
Thermostat | EAC2399110189 | EAC2399110189 | EAC2399110189 | EAC2399110189
Brushless DC Motor | EAC2399110190 | EAC2399110190 | EAC2399110190 | EAC2399110190
Thermostat | EAC2399110191 | EAC2399110191 | EAC2399110191 | EAC2399110191
Thermostat | EAC2399110192 | EAC2399110192 | EAC2399110192 | EAC2399110192
Lgnition Needle | EAC2399110193 | EAC2399110193 | EAC2399110193 | EAC2399110193
Special Sensor | EAC2399110194 | EAC2399110194 | EAC2399110194 | EAC2399110194
Burner | EAC2399110195 | EAC2399110195 | EAC2399110195 | EAC2399110195
Copper Nozzle | EAC2399110196 | EAC2399110196 | EAC2399110196 | EAC2399110196
Gas Valve | EAC2399110197 | EAC2399110197 | EAC2399110197 | EAC2399110197
Air Differential Pressure Switch | EAC2399110198 | EAC2399110198 | EAC2399110198 | EAC2399110198
Air Differential Pressure Switch | EAC2399110199 | EAC2399110199 | EAC2399110199 | EAC2399110199
Air Differential Pressure Switch | EAC2399110200 | EAC2399110200 | EAC2399110200 | EAC2399110200
MGH 96% Furnace
Description | MGH96M060B3A | MGH96M080B3A | MGH96M080C4A
| Part # | Part # | Part #
Igniter | EAC17427600000007 | EAC17427600000007 | EAC17427600000007
Flame sensor | EAC11201006000010 | EAC11201006000010 | EAC11201006000010
Rollout temp. limit switch | EAC17400513000045 | EAC17400513000045 | EAC17400513000045
Gas valve | EAC17427600001389 | EAC17427600001389 | EAC17427600001389
Inducer | EAC17400801002944 | EAC17400801002944 | EAC17400801002944
Pressure switch (High fire) | EAC17400515000422 | EAC17400515000422 | EAC17400515000422
Pressure switch (Low fire) | EAC17400515000421 | EAC17400515000421 | EAC17400515000421
Pressure switch (water level) | EAC17400515000420 | EAC17400515000420 | EAC17400515000420
Main control board | EAC11203103000197 | EAC11203103000197 | EAC11203103000197
Transformer | EAC17127600000708 | EAC17127600000708 | EAC17127600000708
Door switch | EAC17427600001148 | EAC17427600001148 | EAC17427600001148
Fan mounted temp. limit switch | EAC17400513000874 | EAC17400513000874 | EAC17400513000874
ECM blower motor | EAC11002015011986 | EAC11002015011986 | EAC11002015011986
Primary limit switch | EAC17400513001114 | EAC17400513001114 | EAC17400513001114
Description | MGH96M100C5A | MGH96M100D5A | MGH96M120D5A
| Part # | Part # | Part #
Igniter | EAC17427600000007 | EAC17427600000007 | EAC17427600000007
Flame sensor | EAC11201006000010 | EAC11201006000010 | EAC11201006000010
Rollout temp. limit switch | EAC17400513000045 | EAC17400513000045 | EAC17400513000045
Gas valve | EAC17427600001389 | EAC17427600001389 | EAC17427600001389
Inducer | EAC17400801000935 | EAC17400801000935 | EAC17400801000935
Pressure switch (High fire) | EAC17400515000422 | EAC17400515000422 | EAC17400515000422
Pressure switch (Low fire) | EAC17400515000421 | EAC17400515000421 | EAC17400515000421
Pressure switch (water level) | EAC17400515000420 | EAC17400515000420 | EAC17400515000420
Main control board | EAC11203103000197 | EAC11203103000197 | EAC11203103000197
Transformer | EAC17127600000708 | EAC17127600000708 | EAC17127600000708
Door switch | EAC17427600001148 | EAC17427600001148 | EAC17427600001148
Fan mounted temp. limit switch | EAC17400513000874 | EAC17400513000874 | EAC17400513000874
ECM blower motor | EAC11002015011987 | EAC11002015011987 | EAC11002015011987
Primary limit switch | EAC17400513001114 | EAC17400513001114 | EAC17400513001114
FG7TC 95% Furnace
Description | FG7TC-060D-V24BP | FG7TC-080D-V35CP | FG7TC-100D-V35CP
| Part # | Part # | Part #
Blower Control Board | 922016 | 922016 | 922016
Control Board | 920916 | 920916 | 920916
Ignitor Assembly (Nitride) | 1017743S | 1017743S | 1017743S
Flame Sensor | 632484R | 632484R | 632484R
Inducer Motor | 1003442 | 1003442 | 1003442
Inducer Orifice | 669719R | 669713R | 669716R
Blower Motor | 622683 | 622684 | 622684
FG7SA 80% Furnace
Description | FG7SA-054C-T23AP | FG7SA-072C-T24BP | FG7SA-090C-T24BP | FG7SA-090C-T35CP | FG7SA-108C-T35CP
Part # | Part # | Part # | Part # | Part # | Part #
Control Board | 1041648R | 1041648R | 1041648R | 1041648R | 1041648R
Ignitor Assembly (Nitride) | 1017743S | 1017743S | 1017743S | 1017743S | 1017743S
Flame Sensor | 632484R | 632484R | 632484R | 632484R | 632484R
Inducer Motor | 904999 | 904999 | 904999 | 904999 | 904999
Blower Motor | 1027377R | 1027375R | 1027378R | 1027380R | 1027381R

## Rooftop Spare Parts 2026
RTi Series ERDA19H-60AAA
Part # | Qty | Description
EAC2323100005 | 1 | Rooftop outdoor motor
EAC2309100033 | 1 | Low Pressure sensor
EAC2309100003 | 1 | High pressure switch
EAC2309100032 | 1 | High pressure sensor
EAC2312100037 | 1 | Electronic expansion valve (EEV)
EAC2309100027 | 1 | Electronic expansion valve coil
EAC230904222 | 1 | PCB ass'y
EAC2323100004 | 1 | Centrifugal fan motor
EAC2315100001 | 1 | Rotary compressor
EAC230904169 | 1 | Motherboard component
EAC2309100005 | 1 | Outdoor ambient temp. (TA) & Suction temp. (TS)
EAC2309100024 | 1 | Discharge temp. (TD)
EAC2309100023 | 1 | Defrost sensor temp. (TH) &Liquid line temp. (TL)
EAC2309100025 | 1 | TL2 Sensor
EAC2309100022 | 1 | Return airflow temperature & Supply airflow temperature & Evaporation coil temperature sensors assembly

## Air to Water Heat Pump Parts
Air to Water Heat Pump
Part # | Qty | Description
Monobloc-EHM0A-060A
EAC2308100061 | 1 | Axial fan blades
EAC2323100012 | 1 | DC motor
EAC2315100005 | 1 | Compressor
EAC2312100143 | 1 | Four-way valve
EAC2309100072 | 1 | Four-way valve coil
EAC2309100073 | 1 | Electronic expansion valve
EAC2309100074 | 1 | Electronic expansion valve coil
EAC2313100020 | 1 | Water pump assembly
EAC2313100021 | 1 | Water flow switch assembly
EAC2309100084 | 1 | Motherboard board
EAC2309100086 | 1 | Drive board
EAC2313100024 | 1 | Water tray heater
EAC2309100087 | 1 | Discharge temperature sensor
EAC2309100088 | 1 | Suction temperature sensor
EAC2309100089 | 1 | Evaporator temperature sensor
EAC2309100090 | 1 | Ambient temperature sensor
EAC2309100091 | 1 | Defrost temperature sensor
EAC2309100092 | 1 | Water inlet temperature sensor
EAC2309100093 | 1 | Water outlet temperature sensor
EAC2309100094 | 1 | Discharge temperature control switch
Part # | Qty | Description
Hydraulic Module & Basic Control Box -EHM1A-060A13 &EHM0A-060A
EAC2309100055 | 1 | Wire controller
EAC2309100056 | 1 | Remote Module
EAC2309100060 | 1 | PCB board
EAC2309100063 | 1 | Electric heater
EAC2309100064 | 1 | Safety valve
EAC2309100065 | 1 | Three-way valve body
EAC2309100066 | 1 | Three-way valve coil
EAC2309100067 | 1 | Mixing valve 1 temperature sensor TV1
EAC2309100068 | 1 | Mixing valve 2 temperature sensor TV2
EAC2309100069 | 1 | Hot water temperature sensor TW
EAC2309100070 | 1 | Room temperature sensor TR
EAC2309100071 | 1 | Room temperature sensor TR